## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Ramsey Terrace
Consett
County Durham
DH8 7EU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6706
DATE OF REPORT: 26/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6706
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 2 Ramsey Terrace
Consett
County Durham
DH8 7EU
Carried Out On | 26/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6706
SECTION 3: Report
Attend site 1830 for no heat hot water Carry out checks find fan not getting up to speed , strip out and find impeller sticking spray will 3 in 1 oil and test now spinning freely but needs to be replaced with new ... boiler is alpha intec 26c . Tenant has heating and hot water but I cannot guarantee that the boiler will work for much longer. Offsite 1930 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6706
SECTION 4: Photos
Room / Area
Description
Notes
boiler details
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6706
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6706
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6706
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6706
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes