## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 St James Court
Consett
County Durham
DH8 5YJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6707
DATE OF REPORT: 27/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6707
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 22 St James Court
Consett
County Durham
DH8 5YJ
Carried Out On | 27/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Leak from boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6707
SECTION 3: Report
Attend site for no heating or hot water 0845 On site tennant informed me heating wasn't on this morning so he topped boiler up but left fill loop on causing prv to open. I turned fill loop off and drained boiler stripped prv out and cleaned the seat, checked the pressure in the expansion vessel, reassemble and top boiler up to 1.2 bar test prv not passing and fire boiler up wait for everything to get up to temp and pressure ok Offsite 0945 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes