## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Murray Court
Chester-le-Street
County Durham
DH2 2UD
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6708
DATE OF REPORT: 27/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6708
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 Murray Court
Chester-le-Street
County Durham
DH2 2UD
Carried Out On | 27/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6708
SECTION 3: Report
On site at 10:45 for no heating. Find Baxi 80E locked out no flame. Tried to reset but boiler locked out again, checked burner pressure found okay. Checked ignition find okay. So stripped boiler and washed out burner, reassemble and test. Boiler fires up. Switchheating on and off 10 times, boiler fires up every time. Check combustion, all okay boiler now okay. Wait on site until up to temperature. Spray fan ith 3 in 1 oil as noisy while testing. Fan now quiet. Complete. Off site 11.15.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6708
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes