## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Aged Miners Homes
Hartlepool
TS27 14HQ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6709
DATE OF REPORT: 27/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6709
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 14 Aged Miners Homes
Hartlepool
TS27 14HQ
Carried Out On | 27/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Leak from boiler/cylinder

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6709
SECTION 3: Report
Ooh call out Repaired leak on expansion vessel inside alpha water tank , very slow leak , repaired , would recommend new expansion vessel due to corrosion from leak . Will phone customer on Monday to make sure all is ok See photos for details

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6709
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes