## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Axford Terrace
Hamsterley Coillery
NE17 7PB
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6718
DATE OF REPORT: 01/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6718
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 Axford Terrace
Hamsterley Coillery
NE17 7PB
Carried Out On | 28/02/2021
Survey Completed By | Josh Hodgson
SECTION 2: Introduction
Job Description - Leak from boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6718
SECTION 3: Report
Attended site to reports of leak from boiler, boiler casing stripped to investigate leak, small patch of water in casing but no leak present. Boiler operated to warm mechanical parts, joints, pump head and pressurization gauge, still no leak present. Suspect auto air vent had been operating and pulled through a small amount of water. Tennant is going to monitor and report back to Zenith 01/03/2021.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6718
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6718
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6718
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6718
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6718
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes