## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House
Commercial Road
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6720
DATE OF REPORT: 01/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6720
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House
Commercial Road
NE33 1EA
Carried Out On | 28/02/2021, 01/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Job Description - OOH call out - Major leak at Holborn House, Entrance from Car Park, coming through ceiling near Boiler Room and Lift (Communal Area)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6720
SECTION 3: Report
David Hunter attended site and isolated pipework, pressurisation units and pumps. Stevie Baxter attended after myself and remade the joint on the leaking component. 4 hours Dave Aston is attending site Monday morning to check on any further leaks and mitigate against no heating and hot water calls this morning on site. Attend site 01/03/21 0800 Check work which was carried out last night and found a leak above flat ten, trace to auto air vent leaking isolate the leg feeding flat ten and drain down and strip out the auto air vent and change for new. Fill and vent test all ok check all flats that are up and in are operating OK no issues Offsite 0930 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6720
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6720
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6720
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6720
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6720
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes