## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Pinetree
Esh Winning
Durham
DH7 9JZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6727
DATE OF REPORT: 01/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6727
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Pinetree
Esh Winning
Durham
DH7 9JZ
Carried Out On | 01/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Renew boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6727
SECTION 3: Report
Current appliance is an ideal logic combi 30 located in the kitchen with horizontal flue to outside. Gas supply is 15mm at boiler, heating is on zone valves (ground floor and 1st floor) Condensate in situ minimal pipework required if like for like. Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6727
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6727
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6727
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6727
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6727
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes