## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Thornbury
Front Street
Winlaton
NE21 4RE
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6739
DATE OF REPORT: 08/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6739
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Thornbury
Front Street
Winlaton
NE21 4RE
Carried Out On | 01/03/2021, 02/03/2021, 08/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Repair/replacement of communal flue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6739
SECTION 3: Report
Attend to oversee flue install and install condensate pipework commission and test boilers flue still is at risk due to not being able to see flue joint but this is a work in progress Offsite 1700 Attend site 0800 to carry out a cp15 Contact boiler manufacturer to verify what boilers actually are as no data badge the confmed thar they are potterton sirius 2 110 these were gas rated to confirm, serviced and set up as per manufacturers instructions,there are 2 of these . Each boi.er has a magna 1 shunt pump 1 no magna3 heating pump 1 no 250ltr expansion vessel isolated and drained and repressurised to 1.3 bar 1 no buffer vessel visually inspected No leaks Boiler plant in ok condition Offsite 1230 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6739
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6739
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6739
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6739
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6739
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes