## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Valley View
Hexham
Northumberland
NE46 1EF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6743
DATE OF REPORT: 02/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6743
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Valley View
Hexham
Northumberland
NE46 1EF
Carried Out On | 02/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Boiler replacement Replace gas combi boiler. Boiler currently on. ---- Ground floor horizontal flue. ---- Replace with Eco tech pro 28.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6743
SECTION 3: Report
Current appliance is a vaillant ecotec plus located in ground floor kitchen with a horizontal flue to outside. Gas pipework at appliance is in 15mm copper, pipework from meter is 22mm through boxing running at ceiling height in kitchen. Condensate pipework available. Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes