## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Stanley Court
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6744
DATE OF REPORT: 04/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6744
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 20 Stanley Court
Stanley
County Durham
DH9 6HD
Carried Out On | 04/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Bathroom radiator not heating up

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6744
SECTION 3: Report
Attend sitecat 1615 for no hearing in the bathroom Trace fault to a timer/switch which is connected to the oil filled bathroom radiator, the radiator has a thermostat so link the switch out . The power is fused twice buy fused spurs so tenant is happy using the switched fuse spur to switch the radiator on and off. Off site 1705 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6744
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes