## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6748
DATE OF REPORT: 09/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6748
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13 Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
Carried Out On | 09/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Tenant has advised that the heating is coming on during the night and not when it should and the tenant's husband has just come out of hospital so needs the temperature regulated in the flat - no to covid-19 questions - mask ventilate and social distance advised - fine to attend.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6748
SECTION 3: Report
Attend site 0745 for heating not turning off Gain access to flat and carry out tests had to trace through out the flatvto see the 2 port valve find it in the spare room cuboard at high level behind the stud wall. Test this and find it nor to be isolating when turned off by the heating timer. Access to this is through a 12" ×12" access panel so I had to isolate and drain down the whole flat and strip the pipework including the pump out, once out I disconnected the old danfos 2 port valve and replaced with a honeywell 2 port valve then refitted the pipework including the pump, The wiring had to be altered to accept the new valve once all fitted and wired the whole flat filledcand vented and commissioned. All working now. Parts used 1 no 22mm honeywell 2 port valve from van stock £92 Offsite 1030 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6748
SECTION 4: Photos
Room / Area
Description
Notes
Pump and 2 port valve stripped outvas no access to strip 2 port out in situ
Room / Area
Description
Notes
New honeywell valve fitted and tested all ok
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6748
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6748
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6748
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6748
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes