## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Chidron Crescent
Hexham
Northumberland
NE46 1DE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6753
DATE OF REPORT: 03/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6753
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Chidron Crescent
Hexham
Northumberland
NE46 1DE
Carried Out On | 03/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Annual gas safety service Domestic Gas Boiler Service x1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6753
SECTION 3: Report
Recharged expansion vessel.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6753
SECTION 4: Photos
Room / Area
Kitchen
Description
Flue sample points
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6753
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6753
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6753
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6753
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes