## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6757
DATE OF REPORT: 10/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6757
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
Carried Out On | 10/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
The underfloor heating in the bathroom is not working. Other rooms are working fine. Can someone please investigate.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6757
SECTION 3: Report
Attend site 0800 for no heating in bathroom Gain access to flat find heating manifold boxed in had to remove the skirting boards and slide the from cover up to get access (photos taken and attached) Check operation of all components all ok but find no flow through the bathroom circuit, isolate and flush through using the drain offs , the combi boiler had to be topped up during this and fernox inhibitor added on completion , once the circuit cleared reassemble and put the heating on and check all working , wait until the bathroom is up to temp. Tenany is fine to re fitt the boxing in. Parts used 1 no fernox inhibitor van stock £25 Offsite 1100 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6757
SECTION 4: Photos
Room / Area
Description
Notes
Boxing in covering heating manifold
Room / Area
Description
Notes
Skirting boards removed in cuboard and boxing in removed to get access to manifolds
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6757
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6757
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6757
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6757
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes