## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 The Elms
Chester-Le-Street
County Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6763
DATE OF REPORT: 03/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6763
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 34 The Elms
Chester-Le-Street
County Durham
DH2 3EJ
Carried Out On | 03/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Issue 'Fixed' on Monday reoccured No Heating but has HWater Same as Mondays Call out A037208 - No Heating but has Hot Water Reported by Amy Jones 07767674108 Warden at the Elms

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6763
SECTION 3: Report
This is not a call back tenant has heating Attend site 1500 find bathroom floor cold carry out tests find bathroom stat is faulty , check with manager to see if site has any replacement room stats , take one of these and fit in place of the faulty room stat test all ok Offsitec1600 complete Parts used 1 no honeywell room stat sites own parts

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6763
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6763
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6763
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6763
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6763
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes