## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 John Wilson Court
Horden
Peterlee
SR8 4ED
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6774
DATE OF REPORT: 04/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6774
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 12 John Wilson Court
Horden
Peterlee
SR8 4ED
Carried Out On | 03/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Engineers been out today (not Zenith). Were using kitchen cold tap which will not now turn on. Tenant is vulnerable and has mobility issues and is unable to carry water from bathroom to kitchen.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6774
SECTION 3: Report
Fault, no cold water at kitchen mixer tap. Tap head loosely connected to spindle causing it to spin. Tightened tap head screw Noticed slight drop under boiler so investigated, drip on prv... pressure >3bar, prv activated. Checked and recharged expansion vessel. Boiler is a vaillant ecofit sustain.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes