## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Ramsey Terrace
Delves Lane
Consett
DH8 7EU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6775
DATE OF REPORT: 03/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6775
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 2 Ramsey Terrace
Delves Lane
Consett
DH8 7EU
Carried Out On | 03/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
No heating - Zenith call out on Saturday 27/02 but heating gone off again today Mon 01/03

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6775
SECTION 3: Report
Boiler: Alpha Intel 26C Boiler working on arrival, no fault codes advised. attempted to trigger any fault by running appliance to max temperature. Boiler appears to be modulating to maintain temperature set on thermostat showing no signs of fault before cutting out at max temp. pump circulating ok Checked combustion performance R=0.0008 co=81 co2= 9.2 o2 = 20.9

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6775
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6775
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6775
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6775
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6775
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes