## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6782
DATE OF REPORT: 04/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6782
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 04/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
DH to provide DOWs 04/03/2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6782
SECTION 3: Report
Pick up pump from total pump and attend site 0830 Isolate the domestic hot water system and drain down strip out the existing dhw pump, install new 11/4" flanged pump alter all pipework to make it fit . Fill and vent and make sure all taps at the far side of the building all ok Parts used Magna 1 DHW pump 2 x 35mm pressfit sockets van stock £15 2 x 35mm olives van stock £3 1 x 35mm copper pipe £25 Offsite 1100 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6782
SECTION 4: Photos
Room / Area
Description
Notes
New pump fitted commission and test
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6782
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6782
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6782
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6782
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes