## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 New Village
Ingleton
Carnforth
LA6 3DG
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-6785
DATE OF REPORT: 12/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6785
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 34 New Village
Ingleton
Carnforth
LA6 3DG
Carried Out On | 12/03/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
survey and install FULL HEATING SWAP

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6785
SECTION 3: Report
Downstairsdinnng room- 1750x400 single 1750x400 double 1170x450 double 400x 700 double All pipe work downstairs is fed from the floor Upstairs 700x400 single 1550x400 single 1550x400 single 700x400 single All pipe work upstairs fed from the floor Floors upstairs and down are wooden. Boiler in currently is a potterton combi (unable to determine the model) Horazontal flue Flue cage required Tenant says boiler only installed 18 months ago but couldn’t get into cupboard to see serial number

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes