## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Swale View
Morton-on-Swale
Northalleron
DL7 9RD
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-6791
DATE OF REPORT: 05/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6791
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 2 Swale View
Morton-on-Swale
Northalleron
DL7 9RD
Carried Out On | 05/03/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
survey and install FULL HEATING SWAP

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6791
SECTION 3: Report
Downstairs Living room 1- 1000x600 double Living room 2- 1000x600 double Kitchen- 1000x600 double Study-1000x600 double Downstairs toilet- 500x600 double All down stairs pipe work surface mounted 15mm. Upstairs Bathroom 800x600 double Bedroom 1 800x600 double Bed 2 rad 1- 1000x450 double Bed 2 rad 2- 1000x450 double Bed 3- 1000x450 double All pipe work upstairs is 15mm and rads are fed from the floor. Boiler in currently is potterton Combi 28 Horizontal flue Condensate could be ran internally into bath

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6791
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6791
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6791
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6791
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6791
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes