## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Albert Street
Chester-Le-Street
County Durham
DH3 3DR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6794
DATE OF REPORT: 04/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6794
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Albert Street
Chester-Le-Street
County Durham
DH3 3DR
Carried Out On | 04/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Replacement boiler required - Authorised by Andy Sutherland

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6794
SECTION 3: Report
Current boiler is a Worcester greenstar combi boiler located in 1st floor landing cupboard. Gas pipework to appliance is 22mm copper, the boiler has a horizontal flue to outside and access to existing condensate pipework. Images provided via separate email.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes