## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Clowes Walk
Stanley
County Durham
DH9 0XP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6806
DATE OF REPORT: 06/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6806
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Clowes Walk
Stanley
County Durham
DH9 0XP
Carried Out On | 06/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Renew Vailant pro 28 combi boiler - Horizontal flue. ---- Tenant has no heating or hot water but has been left two portable heaters

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6806
SECTION 3: Report
Current appliance is a vaillant ecotec pro located in kitchen with horizontal flue to outside and 22mm copper gas supply to boiler. Access to condensate available. Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6806
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6806
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6806
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6806
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6806
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes