## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
33 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6807
DATE OF REPORT: 07/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6807
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 33 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
Carried Out On | 05/03/2021
Survey Completed By | Robert Jones
SECTION 2: Introduction
The under floor heating in the wet room has stopped heating up.Heating and hot water in the rest of the flat is working fine. Please arrage for a commerical trained engineer to attend.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6807
SECTION 3: Report
Flushed out bathroom and hallway heating circuit. Checked with thermal camera for cold spots / blockages. Heated up and tested after, all ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes