## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 The Elms
Chester-Le-Street
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6828
DATE OF REPORT: 15/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6828
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 34 The Elms
Chester-Le-Street
DH2 3EJ
Carried Out On | 06/03/2021, 08/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Job Description - No Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6828
SECTION 3: Report
No heating circulation, flats above and below ok, new stat fitted previously day before apparently and actuators in good condition, pump circulation good but not returning, ongoing problems. Lady wants early morning visit next week. Onsite 1315 for no heating or hot water. Carry out tests find no flow on heating to hiu isolate and drain unit , strip out strainer and find this blocked, clearvthe strainer ad refit test unit find hot water 60° so using the temperature valve turn this down to 51°at the kitchen sink , the bathroom sink is mixed down to 41° and the shower is working ok. Turn the heating on and find the pump runs and the manifold gets up to temp check operation of all components all working as they should. Offsite 1545 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes