## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Room A, 5 Westlea Avenue
DL14 6HE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6839
DATE OF REPORT: 19/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6839
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Room A, 5 Westlea Avenue
DL14 6HE
Carried Out On | 19/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Renew bolier as per gas service result

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6839
SECTION 3: Report
Current appliance is a Worcester greenstar 24i junior located on the ground floor with a vertical flue through the roof space. Gas supply is in 22mm copper and existing condensate pipework is available. Approximately 1m of vertical flue will be required (dependent on height of new appliance). Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes