## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Stanley Court (Flats 1-30)
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6848
DATE OF REPORT: 09/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6848
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Stanley Court (Flats 1-30)
Stanley
County Durham
DH9 6HD
Carried Out On | 09/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Dale Griffiths Housing Officer (07717542530) Reports No Heating Or Hot Water For More Than One Property In The Block

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6848
SECTION 3: Report
Attend site 1100 for no heating or hot water, Gain access to plantroom find gas valve closed due to fire alarm test, reset and fire boilers up but dhw boilers take several attempts to reset. Wait onsite until all up to temp on the heating side and all flats have hot water. Offsite 1200 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6848
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes