## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6849
DATE OF REPORT: 16/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6849
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
Carried Out On | 29/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
6 Month Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6849
SECTION 3: Report
Attend site 11.30 to carry out a 6 month mechanical check 2 no potterton paramount 4 heating boilers checked no issues all ok 2 no grunfos magna 1 32-60 shunt pumps checkedno issues all ok CHP unit not on use 1 no wilo VR systems cold water booster set checked no issues all ok 1 no flamco pressurisation unit checked no issues all ok 1 no 200ltr refex expansion vessel isolate drain and reset gas charge to 1.4 bar all ok 1 no grunfos magna 1 50-120 North zone heating pump checked no issues all ok 1 no grunfos magna 1 40- 120 South zone heating pump checked no issues all ok 1 no grunfos magna 1 32- 69 primary pump checked no issues all ok 1 no grunfos bronze dhw pump checked no issues all ok 1 no grunfos alpha from buffer vessel switched off 1 no ACV smart calorfier checked all ok no issues Pipework all checked no issues no leaks 1 no north zone 3 port valve checked no issues all ok 1 no south zone 3 port valve checked no issues all ok 1 no potterton bms controller checked all ok No issues found all ok off site 1400 completev

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6849
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6849
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6849
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6849
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6849
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes