## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Mulgrave Drive
Sunderland
Tyne and Wear
SR6 0QB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6859
DATE OF REPORT: 11/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6859
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Mulgrave Drive
Sunderland
Tyne and Wear
SR6 0QB
Carried Out On | 11/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Replacement boiler required - Auth by Andy Sutherland ---- Vokera boiler in at present

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6859
SECTION 3: Report
Current appliance is a vokera compact he with horizontal flue to outside. Gas supply is 15mm at boiler and access to condensate is available. Customer currently has no heating or hot water. Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6859
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes