## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Shotleyfield View
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6862
DATE OF REPORT: 16/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6862
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 15 Shotleyfield View
Carried Out On | 15/03/2021, 16/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Toilet not flushing properly and takes a while to fill back up (resident able to use at present)iss gr

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6862
SECTION 3: Report
Toilet cistern not filling/ filling slowly. Isolated water supply and stripped siamp type 99b bottom entry inlet valve. Pin not rising so checked seals and diaphragm, 3mm split in diaphragm. Diaphragm required Part number not available Sourced part and fitted new diaphragm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes