## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Park Drive
Langley Park
Durham
DH7 9TD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6885
DATE OF REPORT: 11/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6885
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 11 Park Drive
Langley Park
Durham
DH7 9TD
Carried Out On | 11/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Boiler functional but keeps losing pressure due to crack in heat ex. ---- Horizontal flue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6885
SECTION 3: Report
Current boiler is a vaillant ecotec pro combi boiler in 1st floor staff bedroom with horizontal flue to outside. Gas pipework is in 22mm copper and condensate pipework is readily available. Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes