## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Ramsey Terrace
Delves Lane
Consett
DH8 7EU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6886
DATE OF REPORT: 30/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6886
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 2 Ramsey Terrace
Delves Lane
Consett
DH8 7EU
Carried Out On | 10/03/2021, 30/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Renew fan to boiler as per OOH report issued DG

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6886
SECTION 3: Report
Pick up parts and attend site 1345 Gain access ri boiler and isolate and strip out the combustion fan and fit new fan complete with gasket, commission and test all ok Parts used Alpha combustion fan x1 Offsite 1445 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6886
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6886
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6886
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6886
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6886
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes