## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Mayfield Park
Bristol Drive
Wallsend
NE28 9RH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6887
DATE OF REPORT: 11/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6887
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Mayfield Park
Bristol Drive
Wallsend
NE28 9RH
Carried Out On | 10/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Reset pressurization units in boiler rooms at Mayfield Park - service reset.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6887
SECTION 3: Report
Attend site 1600 to reset ASH pump pressurisation unit Gain access to plant room and go into engineers login on ASH heating pressurisation unit and reset the alarm telling unit is in need of a service unit now not in fault Offsite 1645 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6887
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6887
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6887
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6887
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6887
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes