## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
72 Parkside
Tanfield Lea
Stanley
DH9 9NR
CARRIED OUT ON BEHALF OF
G Emerson
REPORT NUMBER: 21-6895
DATE OF REPORT: 11/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6895
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | G Emerson
Address | 8 Seagent Place
The Woodlands
Shotley Bridge
Consett
DH8 0TR
Site Address | 72 Parkside
Tanfield Lea
Stanley
DH9 9NR
Carried Out On | 11/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
No heating upstairs

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6895
SECTION 3: Report
No heating to 1st floor radiators. Worcester greenstar 30i erp installed in ground floor kitchen. Pressure gauge reading zero. Topped up to 1.5 bar. Checked expansion vessel and prv, checked for leaks, found leak on heating flow valve at boiler, tightened loose 22mm nut. Checked upstairs rads and bled as necessary. Heating fully functional on testing.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6895
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6895
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6895
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6895
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6895
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes