## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
58 Bradley Road
West Wylam
Prudhoe
NE42 5EQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6913
DATE OF REPORT: 15/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6913
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 58 Bradley Road
West Wylam
Prudhoe
NE42 5EQ
Carried Out On | 15/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Re-commision Gas x1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6913
SECTION 3: Report
Re commissioned system, freed up seized pump. Leaking condensate within boiler, fow required with part. Baxi platinum 28 he Gc 47 075 32 Part required Heat exchanger to condensate trap hose Part no 5114762???

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6913
SECTION 4: Photos
Room / Area
Landing
Description
Flue sample points
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6913
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6913
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6913
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6913
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes