## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-3 Haverton Hill Road
Billingham
Stockton on Tees
TS23 1PY
CARRIED OUT ON BEHALF OF
SUEZ Recycling and Recovery UK Ltd
REPORT NUMBER: 21-6923
DATE OF REPORT: 19/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6923
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | SUEZ Recycling and Recovery UK Ltd
Address | Haverton Hill Road
Billingham
TS23 1PY
Site Address | 1-3 Haverton Hill Road
Billingham
Stockton on Tees
TS23 1PY
Carried Out On | 19/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
3 toilets that are not flushing correctly in the office areas. Floor2 Ladies toilet, Floor 1 Gents, and ground floor disabled toilet

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6923
SECTION 3: Report
Attend site 1130 Find 3 x toilets not flushing and 1 has a snapped handle so can't be flushed, also sink in disabled toilet dripping from the bottle trap. Travel to wholesalers to collect parts (I paid as still on the stop) Return to site 2 x male toilets isolated and drained syphon stripped out and replaced with new fill and vent also replace one flush handle test operation all ok 1 x female toilet isolated and drained strip out syphon and replace check operation allmok. Strip out disabled hand basin bottle trap and replace check for operation all ok Offsirw 1445 complete Parts used 3 no syphon £54.40 1 no syphon lener £10.77 1 no 11/4" bottle trap £3.77 1 no 11/4" connector £2.02 I paid for parts £84.43 owed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6923
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6923
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6923
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6923
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6923
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes