## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Weavers Court
Swordy Drive
Alnwick
NE66 1FZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6936
DATE OF REPORT: 06/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6936
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Weavers Court
Swordy Drive
Alnwick
NE66 1FZ
Carried Out On | 06/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6936
SECTION 3: Report
Attended site to find loud noise coming from the pressurisation unit, I isolated the unit electrically and located with relay within. I’ve manually over ridden the relay to allow pumps and boilers to function. Follow on works to replace relay. Details taken and will be sent in via email to admin, this is urgent incase the system water pressure drops. 4 hours out of hours inc travek Attend site for pressurisation unit not pressing the heating system 1000 Attend site find no pressure in the system and all top floor flats with out heating. Test pressurisation unit and find it only works intermittently , so isolate and strip out the 3 x pressure switches clean out and clean the tubes that link it to the unit reassemble and try unit , its working better but I cannot guarantee that it will keep the unit up to pressure and strongly advise fitting a new unit with a pressure transponder, to eliminate any further issues Parts required 1 no lowra pressurisation unit £780 + 1 no pipework and fittings £100+ 4 hrs labour This needs doing ASAP Offsite 1130 parts required

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6936
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6936
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6936
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6936
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6936
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes