## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Rolley Way
Castlefields
Prudhoe
NE42 5FH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6943
DATE OF REPORT: 15/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6943
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Rolley Way
Castlefields
Prudhoe
NE42 5FH
Carried Out On | 15/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Replace combi boiler. located on ground floor with horizontal flue. Currently has potterton gold installed. Boiler currently on.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6943
SECTION 3: Report
Current boiler is a potterton gold he located in ground floor kitchen with horizontal flue to outside. Gas pipework is in 22mm copper and condensate pipework is present. Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6943
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6943
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6943
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6943
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6943
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes