## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Pembroke Court
Hylton Lane
Downhill
SR5 4DF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6946
DATE OF REPORT: 15/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6946
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Pembroke Court
Hylton Lane
Downhill
SR5 4DF
Carried Out On | 15/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Bad leak in the cupbaord that houses all of the pipework for the boiler in 5 Pembroke Court reported by Avril and water has been turned off Commercial Boiler 01915190262 Standard call out for commercial boilers

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6946
SECTION 3: Report
Attend site 1245 for a leak Gain access for a leak in the cuboard, had to empty the cuboard which was full find the heating pipework to the 2 port valve bent down because of the stuff in the cuboard so re position of position pipework and tighten up fittings and test all ok advise the tennant not to keep stuff on pipework Offsite 1.30 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes