## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Merton Court
Newcastle Upon Tyne TYNE
Tyne and Wear
NE4 8JD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6976
DATE OF REPORT: 16/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6976
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Merton Court
Newcastle Upon Tyne TYNE
Tyne and Wear
NE4 8JD
Carried Out On | 16/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Urgent please survey and renew combi boiler as soon as possible.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6976
SECTION 3: Report
Attend to carry out survey for new combi boiler Old boiler is a vaillant combi with a 22mm gas supply and condensate pipework to out side ,. The flat is on the ground floor with a horizontal flue no extensions needed. gas meter is directly outside behind the boiler . Steps will be needed to gain access to flue as garden runs away so flue is 3 mtrs up Controls are hard wired in the hallway 4 mtr away Trvs fitted Straight forward swap

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6976
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes