## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6981
DATE OF REPORT: 20/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6981
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 17/03/2021 18/03/2021, 20/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Tenant advises that the boiler in the cupboard is making a loud and noise that sounds like a spitting noise this noise is just a recent thing ---- No COVID issues advise to wear a mask and ventilate

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6981
SECTION 3: Report
Attend site 1100 for hiu making a noise On investigation find pumpnv noisey, had to order new part as none on site Parts ordered will return to site to fire when in stock Offsite 1200 fow Onsite 0900 pick parts up from wholesalers Gain access to site and isolate flat 9 heating flow and return in main corridor, had to drain unit by loosing pump and use wet vac as no drain offs on heater. Once drained strip out pump and fit new pump. Fill and vent had to pull water through using hose on drain off under sink to clear air lock. Check operation of heating and hot water on completion find all ok. Parts used 1 no mhs pump 1 no blue roll van stock £3 3 no crimp connectors van stock £2.40 Carl Stephenson assist offsite 1200 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6981
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6981
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6981
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6981
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6981
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes