## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6990
DATE OF REPORT: 17/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6990
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
Carried Out On | 17/03/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
No CH&HW Reported to Scott at the PHF from staff at property. Have said the pilot light is out and cant get it on not sure on error codes as they never mentioned it to Scott. Baxi Platinum Combi 24 HE boiler. Staffed 24/7

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6990
SECTION 3: Report
LPC 17.3.21 1600 - 1625 Arrived on site and gained access to flat 8 . Found boiler in low pressure lockout mode , used filling loop and topped up to correct pressure . Fired up appliance and monitored functions and performance, found to be all ok .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes