## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Bennions Way
Catterick Village
Richmond
DL10 7RL
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-7005
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7005
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 21 Bennions Way
Catterick Village
Richmond
DL10 7RL
Carried Out On | 15/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
ENGINEER FROM IDEAL ATTENDED YESTERDAY AS BOILER JUST INSTALLED ON WEDNESDAY BUT WASNT WORKING, TENANT COULD SMELL GAS ON SATURDAY SO ENGINNER CAPPED BOILER. SPOKE TO SSA AND RECOMMISSION NEEDED GAS RECOMMISSION

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7005
SECTION 3: Report
Boiler in currently is a potterton suprema on a y plan system. Will be an okay conversion as hot and colds can be picked up from under the bath which is situated directly above the boiler position. 8 radiators with 10mm valves Horizontal flue Blow off and condensate will need drilled May need condensate pump as boiler is one side of the door and drain is the other but soil stack will obstruct the run. Fabric Engineer booked appointment for next Wednesday 10th. Commission boiler - Paperwork sent to office.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7005
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7005
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7005
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7005
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7005
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes