## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
31 Tedder Road
Acomb
YORK
YO24 3JD
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-7007
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7007
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 31 Tedder Road
Acomb
YORK
YO24 3JD
Carried Out On | 15/03/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Repair pipework - urgernt call out direct from Paul Cartwright.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7007
SECTION 3: Report
I attended 31 tedder Road at 16:30 travelled to toolstation to collect cooker bayonet and fittings returned to site carry out a tightness test, isolated gas and altered gas pipework to allow new cooker to be fitted , carry out a tightness test all ok -off site 18:15 complete. Parts used:1 no 15mm connecter, 1 no 15mm pipe, 1 no 1/2" back plate, 1 no 1/2" bayonet fixing, Total �11.86 - I paid cash for the. Arrived home 20.30

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes