## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Harelaw Gardens
Stanley
County Durham
DH9 8DG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7012
DATE OF REPORT: 18/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7012
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 Harelaw Gardens
Stanley
County Durham
DH9 8DG
Carried Out On | 18/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Renew combi boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7012
SECTION 3: Report
Current boiler is a standard efficiency vaillant combi boiler located in the first floor bedroom cupboard with horizontal flue to outside. Gas supply is in 22mm copper, as the cupboard backs onto the bathroom and there is a hopper head on the external wall there is plenty of scope for installing condensate pipework. Images provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7012
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7012
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7012
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7012
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7012
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes