## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7022
DATE OF REPORT: 21/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7022
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 23/03/2021,13/04/2021, 21/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Alter condensate pipe work and traps at park view as follow on works from the back of the ppm check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7022
SECTION 3: Report
Onsite 12.30, altered condensate pipe on domestic hotwater boiler to allow correct fall for condensate, replaced seal in trap, once replaced checked for leaks job complete, parts used from van stock, parts used 3 x 1inch 1/4 solvent elbows, 1 inch 1/4 pipe, total £25,Off site 13.45 assisted by Carl Stephenson

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes