## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Derwentdale Court
Blackhill
Consett
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7023
DATE OF REPORT: 19/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7023
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Derwentdale Court
Blackhill
Consett
DH8 8PY
Carried Out On | 19/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
plumber on site adv tenant is having FFS installed and contractors have turned off water in flat but unable to turn back on because of state of stop tap. ---- ---- Due to the shower installation this will have to be completed by tomorrow when the contractors are finished ---- pressure reducing valve also need renewing ---- Se

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7023
SECTION 3: Report
Attend site 0845 for stop cock snapped Gain access with contractors find prv leaking from the body and the stol cock stuck in the closed position pick new 22mm stop cock and 22mm prv up and return to site. Inform all residents that the water is going off for a while and isolate and drain down the water services drip the stop cock out and replace and then swap out the prv . Fill and vent the system test all ok Parts used 1 no pressure reducing valve £26.54 1 no 22mm stop cock £6.15 I paid for parts Offsite 1030 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7023
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes