## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7024
DATE OF REPORT: 19/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7024
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 32 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
Carried Out On | 19/03/2021, 01/04/2021, 19/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
The underfloor heating does not seem to be heating up as well as it did. The heating is working but not to the correct level. Can someone please come and check the boiler and underfloor heating system to check for issues.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7024
SECTION 3: Report
Attend site for 0800 Gain access to underfloor heating manifold check al, components are operating correctly and boiler is operating correctly, all ok Increased the flow rate on each restricter to 1.5 ltr per min and increase the temp to 55° as the manifold is boxed in with no ventilation and the tmv is shutting down. Boxing in needs to have ventilation increased high and low to improve flow Offsite 0915 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7024
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7024
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7024
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7024
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7024
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes