## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7026
DATE OF REPORT: 13/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7026
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 17 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 13/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Issue still persisting with leaking heating pipes After a couple of visits it has been noted that the tennants heating pipes have still been leaking. ---- ---- thermostat it was still amber/red. ---- ---- Please visit and repair.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7026
SECTION 3: Report
Attend site 1445 fo a leak Find 22mm gate valve leaking from the heating manifold. The valve is a soldered type so can't be changed so I isolated elsewhere and drained down heating system and stripped out the internal components and repack the glands reassemble and test the valve no longer leaks Off site 1430 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7026
SECTION 4: Photos
Room / Area
Description
Notes
Isolate cand drained down , strip out the internal components and repack the gland reassemble and fill and vent the heating system
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7026
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7026
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7026
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7026
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes