## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7036
DATE OF REPORT: 14/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7036
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 17 Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
Carried Out On | 19/03/2021, 14/04/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Bad leak in hallway cupboard - possibly hot water guage or water meter. FOWs Replace speedfit connectors with crimp type as per David Hunter

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7036
SECTION 3: Report
Attended site and found leaking hot water meter within the ceiling space in the hallway cupboard. I cut the water meter out and installed a section of pipework in its place. The pipework was replaced using temp fittings to get the hot water back up and running for the tenant. Zenith will return and replace pipework section with crimped style fittings. Hot water outlets were checked before leaving site. Attend 0815 Drain domestic hot water system and strip out the temporary water connectors fitted to stop the leak from the water meter , replace with 22mm conex straight connectors and fill up and vent all hot taps. Offsite 0915 complete Parts used 2 no 22mm straight conex connectors

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7036
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7036
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7036
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7036
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7036
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes