## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Rose Crescent
Sacriston
Durham
DH7 6QB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7037
DATE OF REPORT: 24/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7037
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Rose Crescent
Sacriston
Durham
DH7 6QB
Carried Out On | 24/03/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Currently operational but aged boiler keeps losing pressure. ---- Baxi duo tec 28 in with a horizontal flue in upstairs bedroom ---- Neomitis room stat also required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7037
SECTION 3: Report
Current boiler is a baxi duo tec located in the first floor bedroom cupboard with horizontal flue to outside. Gas supply is in 22mm copper and condensate pipework is present and available. Photographs provided via separate email

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7037
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7037
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7037
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7037
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7037
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes