## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Hadrians Way
Newcastle Upon Tyne
NE28 6HL
CARRIED OUT ON BEHALF OF
Smulders Hadrians Yard
REPORT NUMBER: 21-7060
DATE OF REPORT: 27/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7060
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Smulders Hadrians Yard
Address | Hadrians Way
Newcastle Upon Tyne
NE28 6HL
Site Address | Hadrians Way
Newcastle Upon Tyne
NE28 6HL
Carried Out On | 22/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Job Description - Repair office block boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7060
SECTION 3: Report
Attend site 0745 for no heating On site fine all ok bso relite boiler and wait until all up to temp ,, once up to temp find prv passing John from site informed me that this was the issue and he had turned off the heating . Pick up a new prv from total pumps re attend site isolate and drain down the heating system and replace the 3 bar faulty prv with a new certified 3 bar prv , fill and vent the system test operation all ok Parts used 1 no 1/2" seetru PRV set to 3 bar Offsite 1030 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes